Alternate NSPS PTC Comment Information

Please submit any comments or questions on the following permit applications to Shannon Heafey at shannon.heafey@maryland.gov:

U. S. Department of Energy-Germantown Facility- application received for the installation of four dual-fuel (natural gas and no. 2 fuel oil) fired boilers, three of which are rated at 14.71 mmBtu/hr and one rated at 5.25 mmBtu/hr.  The proposed installation will be located at 19901 Germantown Road, Germantown, MD 20874.  The comment period will expire on September 23, 2016.

Coldspring Renewables, LLC- application received on February 29, 2016 for the installation of an anaerobic digester system using cow manure to produce biogas. The biogas will be used for fueling one reciprocating internal combustion engine/generator rated at 400kW (536bhp) to produce electricity for onsite consumption.  The installation will be located at 3901-B Hawks Hill Road, New Windsor, MD 20776.  The comment period will expire on August 19, 2016.

University of MD – St. Joseph Medical Center- application received on July 6, 2016 with amendments received on July 15, 2016  for the installation of a natural gas fired non-emergency generator rated at 2000kW (2785HP) equipped with an oxidation catalyst.  The installation will be locates at 7601 Osler Drive, Towson MD 21204.  The comment period will expire on August 19, 2016.

MedImmune, LLC application received on June 22, 2016 to install one natural gas fired, spark ignition, reciprocating internal combustion engine rated at 2500 kW for combined heat and power.  The proposed installation will be located at One MedImmune Way, Gaithersburg, MD 20878.  The comment period will expire July  15, 2016

Baltimore Washington Medical Center application received on November 12, 2015, and updated April 18, 2016, for the installation of a natural gas fired nonemergency engine rated at 2,005 kilowatts (2875 horsepower) equipped with an oxidation catalyst to be located on their property at 301 Hospital Drive, Glen Burnie MD.  The comment period will expire on July 8, 2016.

US Army Adelphi Laboratory Center (ALC) application received on March 18, 2016 for the replacement of a 1,100-kW natural gas-fired engine as part of an existing combined heat and power unit (Reg. No. 9-1337).  The proposed Waukesha model #16V150LTD is a replacement in-kind and will be located at 2800 Powder Mill Road, Adelphi, MD 20783.  The comment period will expire on June 23, 2016.

Harris Teeter #324- application received for the installation of one diesel fired generator rated at 919 horsepower (685kW) for peak shaving and emergency operations. The installation will be located at 15501 Annapolis Road, Bowie, MD 20715.  The comment period will expire on March 18, 2016.

Harris Teeter #380- application received on November 12, 2015 for the installation of one diesel fired generator rated at 919 horsepower (685kW) for peak shaving and emergency operations. The installation will be located at 28528 Marlboro Avenue, Easton, MD 21601.  The comment period will expire on March 4, 2016.

LifeBridge Health- Sinai Hospital- application received on November 4, 2015 for the installation of one dual-fuel (natural gas and no. 2 fuel oil fired) boiler rated at 42 million Btu/hr and equipped with a low NOx burner. The installation will be located at 2401 West Belvedere Avenue, Mt. Pleasant  Building, Baltimore, MD 21215. The comment period will expire on February 26, 2016.