## Sheet1
Maryland On-Site Sewage Disposal System Inspection Report
** For this inspection to be considered a proper inspection, all sections must be completed**
Pre-Inspection Information
Property Information
Address:
City: | [8 empty] | State: |  | MD |  | Zip Code:
Permitted # of Bedrooms: | [5 empty] | Build Year: | [6 empty] | Water Supply:
Property Type: | [6 empty] | If Other:
Comments:
Owner Information/ Interview
Last Name: | [11 empty] | First Name:
Number of Occupants: | [5 empty] | Number of Years Occupied:
If Vacant, Date Vacated (mm/dd/yyyy):
In-Home Business: |  |  |  |  | Type:
Has the Property Recently had a Septic Inspection: | [12 empty] | Date:
Any Septic System Issues: | [6 empty] | Type:
Comments:
Document Search Information
Document Request Date: | [7 empty] | Septic Permit Reviewed:
Permitted Septic System Components:
Septic Tank: |  | Install Year: | [8 empty] | Size: |  |  | gal
BAT Unit: |  | Install Year: | [8 empty] | Manufacturer:
Distribution Box: |  |  |  | Pumping Chamber:
Absorption Type: | [8 empty] | Total Trench Length/ Width: | [10 empty] | Ft
Bed Size (L/W): | [5 empty] | Ft |  |  | Absorption Component Depth: | [8 empty] | Ft
Comments:
On-site Inspection
Start Date: |  |  |  |  | Completion Date:
Crawl Space/ Basement Evaluation
Number of Drain Pipes Exiting Foundation Wall
Describe Each Pipe and Source:
Does Plumbing Evaluation Confirm all Wastewater is Directed into the Septic System:
Water Treatment
Does the House have any Water Treatment Devices: | [12 empty] | If Yes, Number:
Describe each Water Treatment Device:
If any, where is the Water Treatment Discharge Directed:
Sewer Line Outside of Foundation
Pipe Material: | [7 empty] | Cracks/ Breaks: | [6 empty] | Blockage:
Comments:
Grease Trap
Grease Trap: |  |  | Size: |  |  |  | (Gal) |  |  |  | Construction:
Liquid Level: | [5 empty] | Proper Baffle:
Comments:
Septic Tank
Septic Tank: |  |  | Number of Tanks: | [8 empty] | Total Size of Tank(s): | [6 empty] | (Gal)
Type of Tank(s): | [8 empty] | Construction:
Liquid Level: | [5 empty] | Evidence of High Water Staining: | [10 empty] | Effluent Filter:
Inlet Baffle: |  |  | Outlet Baffle: | [7 empty] | Baffle Condition:
Access: | [5 empty] | Evidence of Ground or Surface Water Intrusion:
Comments:
Best Available Technology Unit (BAT)
BAT Unit: |  | Manufacturer: | [11 empty] | Model:
Power to Contro Pannel: | [6 empty] | Control Pannel: | [6 empty] | Control Pannel Alarm:
Last Service Date: | [7 empty] | Was Last Service Date more than 365 days:
Comments:
Distribution Box
Distribution Box: |  |  |  | Number of Drainlines leaving Box: | [10 empty] | Distribution Box Level:
Is there Equal Disstribution to Drainlines: | [11 empty] | Liquid Level:
Comments:
Pumping Chamber
Pumping Chamber: |  |  |  |  | Access: | [8 empty] | Liquid Level:
High Water Alarm: |  |  |  |  | Alarm Properly Functioning: | [9 empty] | Separate Float Tree:
Pump Elevated off the Bottom of the Tank: | [11 empty] | Electrical Connections:
Comments:
Soil Absorption System
Absorption Type: | [6 empty] | Observation Pipes (OP): | [7 empty] | OP Water Depth:
Trenches Probed: |  |  |  |  | Describe Observation:
Evidence of Surfacing Effluent: | [7 empty] | Describe:
Comments:
Other On-Site Disposal Systems (OSDS) Components and Systems
Detail all other OSDS components not covered in the above sections.
Comments:
OSDS Testing
Hydraulic Load Test
Hydraulic Load Test Performed: | [7 empty] | Testing Volume: |  |  |  |  | Gal |  | Elapsed Time: |  |  |  |  | Min
Comments:
Dye Test
Suspicious Liquid Discharge on or near the Property:
Dye Test Performed: | [5 empty] | Reason:
Comments:
Tank Pump Out
Tank(s) Pumped: |  |  |  | Number of Tanks Pumped: | [8 empty] | Total Gallons Pumped:
Any Flow into Tank from Outlet Pipe: | [9 empty] | Any Groundwater Entering the Tank:
Does the Tank Appear to be Watertight:
Comments:
Summary/Conclusions
Wastewater Collection System Conveys all Wastewater to Sewer Line: | [8 empty] | Satisfactory
Unsatisfactory
Satisfactory with Concerns
Sewer Line | [8 empty] | Satisfactory
Unsatisfactory
Satisfactory with Concerns
Grease Trap | [8 empty] | Satisfactory
Unsatisfactory
Satisfactory with Concerns
Septic Tank | [8 empty] | Satisfactory
Unsatisfactory
Satisfactory with Concerns
BAT Unit | [8 empty] | Satisfactory
Unsatisfactory
Satisfactory with Concerns
Distribution Box | [8 empty] | Satisfactory
Unsatisfactory
Satisfactory with Concerns
Pumping Chamber | [8 empty] | Satisfactory
Unsatisfactory
Satisfactory with Concerns
Soil Absorption System | [8 empty] | Satisfactory
Unsatisfactory
Satisfactory with Concerns
All other OSDS components | [8 empty] | Satisfactory
Unsatisfactory
Satisfactory with Concerns
Does any component of the OSDS need to be repaired or replaced:
Explain:
In my professional opinion this OSDS is properly functioning base on permitted capacity:
My Inspection verifies the OSDS is consistant with the septic permit:
If listed for sale, does the number of bedrooms advertised match what is legally permitted:
Comments:
**Check with the Approving Authority for permitting requirements before any repair is performed to the septic system.**
**ATTACH ALL DOCUMENTS PROVIDED BY THE APPROVING AUTHORITY
THIS INSPECTION REPORT DETAILS COMPONENTS AND THE PRESENT CONDITION OF THE ON-SITE SEWAGE DISPOSAL SYSTEM FOR THE ADDRESS LISTED IN THE PROPERTY INFORMATION SECTION OF THIS REPORT. THE CONCLUSIONS OF THIS REPORT DO NOT GUARANTEE OR WARRANTY THIS OSDS WILL FUNCTION IN THE FUTURE.
This inspection of the septic system is an evaluation of function and is not an evaluation that the system meets current State regulations. The owner should not assume future expansion of the home is possible without additional evaluation completed by the Approving Authority.
I attest that I have properly completed an inspection of the OSDS at this property. This inspection includes information obtained from the property owner, or representative, and a document search from the Approving Authority. I have completed all sections pertaining to components of this OSDS. The conclusions of this report are my professional opinions based on my training and experience inspecting OSDS.
First Name: | [7 empty] | Last Name:
License Number:
Signature: | [15 empty] | Date: